
Northwest Local Environmental Protection Group (NWLEPG)
350 S Range, Ste #4
Colby, KS 67701
Phone #: (785) 462-8636		Fax #: (785) 460-8637
E-mail: nwlepg@st-tel.net		Website: www.nwlepg.org
Serving the following Counties:  Cheyenne, Gove, Greeley, Lane, Logan, Rawlins,
Scott, Sheridan, Sherman, Thomas, Trego, and Wallace
Oil Field Water Supply Well Permit	      #______
This Oil Field Water Supply Well Permit requires a $250.00 fee to be paid to the Northwest Local Environmental Protection Group (NWLEPG) office and this form shall be completed prior to construction of water well.  The fee may be paid by either the operator licensed by the Kansas Corporation Commission (KCC) or the water well contractor licensed by the Kansas Department of Health and Environment (KDHE). This permit and fee are valid for six (6) months from the permit date entered below. As required by KDHE regulations in Article 30 (K.A.R. 28-30-7(e)), the KCC licensed operator is responsible for plugging this water well within 30 calendar days after termination of oil or gas drilling operations, or for conveying responsibility to the landowner in lieu of abandoning and plugging the water well. The transfer must be made through a legal document approved by KDHE and submitted to the Geology & Well Technology Unit at 1000 SW Jackson, Suite 420, Topeka, KS 66612-1367. 
	Website: http://www.kdheks.gov/waterwell/index.html	Phone #: (785) 296-3565
Permit Date: _______________ Proposed Starting Date: ______________ Termination Date:	____________
Legal Location: Fractions: _____¼, _____¼, _____¼, _____¼ Sec.: ______, Township: ______S, Range: ______W	2.5 ac	10 ac	40 ac	160 ac
[bookmark: _Hlk19023424]Latitude: __________________ 	Longitude: __________________	County: __________________
KCC Licensed Operator: ________________________________________ 	Phone: __________________
Address: ________________________________________ City/ST/Zip:	____________________________
	E-mail: ________________________________________
KS Water Well Contractor: ______________________________________ 	Phone: __________________
Address: ________________________________________ City/ST/Zip:	____________________________
KS WWC License #: ____________________ 	E-mail: ________________________________________
Construction of new water wells must meet minimum separation distances from pollution sources as required in the applicable county environmental/sanitary code and/or Article 30 (K.A.R. 28-30-8). The county code may be more stringent than state regulations. Please refer to the applicable county environmental/sanitary code. Copies are available from the NWLEPG office and online at the link http://www.kdheks.gov/nps/lepp/CountyCodes.html.
I understand and agree that the issuance of this permit to develop a non-public water supply shall not be construed or interpreted as imposing or interfering with the laws and regulations of the Kansas Department of Agriculture’s Division of Water Resources relating to the authority of the Chief Engineer. Neither is there any warranty implied or inferred that this water well will function properly.  
The KCC Licensed Operator is responsible for ensuring this Oil Field Water Supply Well is constructed by a Water Well Contractor licensed in Kansas in accordance with regulations in Article 30, as authorized by the Kansas Groundwater Exploration and Protection Act (Article 12 in K.S.A. 82a-1201, et seq.).


Authorized Representative Signature									Date


Authorized Representative (Printed name)							
(Signature of KCC Licensed Operator or KS WWC is permitted.)
Submit this form to the: NWLEPG (address above) 24 hours prior to water well construction.
Please provide the NWLEPG with a copy of the water well construction and/or plugging record (Forms WWC-5/5P).  Form(s) will be attached when received.	Fill out the back side of this form.
(Back Side) R
Preliminary sketch of proposed site.  Must show property lines and right-of-way easements.
(This includes neighboring wells and wastewater systems.)
Mark one or both:  ________ Livestock 	__________ Domestic


































*** These are minimum separation distant requirements stated within the county environmental/sanitary codes.  These must ALL be checked off. ***
___Well to septic tank and sewer lines 50’	___Well to neighbors’ septic tank 50’
___Well to leach field 100’	___Well to neighbors’ leach field 100’
___Barnyards, stables, animal pens, or manure piles 50’	___Fuel, fertilizer or pesticide storage 50’
___Well to property lines and right-of-way easements 25’	___Streams, lakes or ponds 50’
___Request waiver if the above distances cannot be met (Waiver must be approved before drilling)
Office Use Only:
[bookmark: _Hlk15386308]  By Phone	  By Site Evaluation	  By Office Visit	  By Fax	  By Mail	  By E-Mail
  Permit fee PAID by: _________________________________________	CK # - Cash: _______________________ 
Date Permit Received: ___________________________	Inspection Date: ___________________________
NWLEPG Information & Comments:	______________________________________________________
	_______________________________________________________________________________________
	_______________________________________________________________________________________
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